1 GB/T 998-1982 低压电器基本试验方法 Basic testing method of low voltage apparatus

2 GB/T 1003-1980 三相插头插座型式、基本参数与尺寸 Types, basic parameters and dimensions of three phase plugs and sockets

3 GB 1444-1987 防爆灯具专用螺口式灯座 Edison screw lampholders specially used for explosion-proof luminaires

4 GB/T 1497-1985 低压电器基本标准 The basic standard for low-voltage apparatus

5 GB 2099-1980 单相、三相插头插座技术条件 Technical requirements for single-phase and three- phase plugs and sockets

6 GB/T 2900.18-1992 电工术语 低压电器 Electrotechnical terminology—Low voltage apparatus

7 GB/T 3783-1994 船用低压电器基本要求 General specification for low-voltage apparatus in ships

8 GB/T 3797-1989 电控设备 第二部分: 装有电子器件的电控设备 Electric-driving controlgear—Part 2: Electric-driving controlgear incorporating electronic devices

9 GB 3836.1-1983 爆炸性环境用防爆电气设备 通用要求 Electrical apparatus for explosive atmospheres--General requirements

10 GB 3836.2-1983 爆炸性环境用防爆电气设备 隔爆型电气设备 "d" Electrical apparatus for explosive atmospheres--Flameproof electrical apparatus "d"

11 GB 3836.3-1983 爆炸性环境用防爆电气设备 增安型电气设备 "e" Electrical apparatus for explosive atmospheres--Increased safety electrical apparatus "e"

12 GB 3836.4-1983 爆炸性环境用防爆电气设备 本质安全型电路和电气设备 "i" Electrical apparatus for explosive atmospheres--Intrinsically safe circuits and electrical apparatus"i"

13 GB 3836.5-1987 爆炸性环境用防爆电气设备 正压型电气设备 "p" Electrical apparatus for explosive atmospheres--Pressurized electrical apparatus "p"

14 GB 3836.6-1987 爆炸性环境用防爆电气设备 充油型电气设备 "o" Electrical apparatus for explosive atmospheres--Oil immersed electrical apparatus "o"

15 GB 3836.7-1987 爆炸性环境用防爆电气设备 充砂型电气设备 "q" Electrical apparatus for explosive atmospheres--Sand filled electrical apparatus"q"

16 GB 3836.8-1987 爆炸性环境用防爆电气设备 无火花型电气设备 "n" Electrical apparatus for explosive atmospheres--Non-sparking electrical apparatus "n"

17 GB 3836.9-1990 爆炸性环境用防爆电气设备 浇封型电气设备 "m" Electrical apparatus for explosive atmospheres—Encapsulated electrical apparatus "m"

18 GB 3836.10-1991 爆炸性环境用防爆电气设备 气密型电气设备"h" Electrical apparatus for explosive atmospheres—Hermetically sealed electrical apparatus "h"

19 GB 3836.11-1991 爆炸性环境用防爆电器设备 最大试验安全间隙测定方法 Electrical apparatus for explosive atmospheres—Method of test for ascertainment of maximum experimental safe gap

20 GB 3836.12-1991 爆炸性环境用防爆电器设备 气体或蒸汽混合物按照其最大试验安全间隙和最小点燃电流的分级 Electrical apparatus for explosive atmospheres—Classification of gases or vapours with air according to their maximum experimental safe gaps and minimum igniting currents

21 GB/T 4205-1984 控制电气设备的操作件标准运动方向 Standard directions of movement for actuators which control the operation of electrical apparatus

22 GB/T 4720-1984 电控设备 第一部分: 低压电器电控设备 Electric-driving controlgear--Part 1: Electric driving controlgear composed of low-voltage apparatus

23 GB 5590-1985 矿用隔爆型电磁起动器 Mining type flameproof electric magnetic starters

24 GB 6829-1995 剩余电流动作保护器的一般要求 General requirements for residual current operated protective devices

25 GB/T 7061-1986 船用低压开关设备和控制设备装置通用技术条件 General specification for low-voltage switchgear and controlgear assemblies in ships

26 GB/T 7261-1987 继电器及继电保护装置基本试验方法 Basic testing method of relay and protective equipment

27 GB/T 7417-1987 AX 系列继电器 AX series relays

28 GB/T 7957-1987 矿用安全帽灯 Safety cap lamp for mines

29 GB/T 7958-1987 煤矿用电容式发爆器 Capacitor discharge type exploders for coal mines

30 GB/T 9393-1988 STZ3型电子测量仪器用连接器 STZ3 type connector for electronic measurement instrument

31 GB

本文转自:赛尔社区. http://bbs.shejis.com/viewthread.php?tid=431123&fromuid=0